Site name: Johnson Mesa profil

Device codes: 1A; 1V; 9A; 9V

Coordinates: S63°50'10.9"; W57°55'38.9"  (1A; 1V); S63°48'58.2"; W57°55'17.4" (9A; 9V)

Altitude: approx. 185 m a. s. l. (1A; 1V); 155 m a. s. l. (9A; 9V)

Site description: The study site is situated on the ledge of Johnson Mesa in the north-western part of Ulu Peninsula, James Ross Island. The site provides both atmospheric and ground data. Its surrounding is covered by regolith and it is shadowed from southwest to northwest by the mesa.

Measured parameters:

Current setting:

1A - Soil temperature (5, 30, 50 cm) - since 1 February 2016

1V- Air temperature and relative humidity (200 cm) - since 1 February 2016

9A - Soil temperature (5, 20, 30 cm) – since 26 February 2012

9V - Air temperature (200 cm) – since 12 February 2012

9V - Relative humidity (200 cm) – since 12 February 2012

Cancelled measurement:

Measurement interval: 60 min

Total data availability: 9A – 100 % 9V – 99 %

Data quality: 	9A – 1 (no values missing)

9V – 2 (a few missing values were modelled)

Missing data period:

Published data period:

Data files:

Complete time series – raw data:

9A_2013_02_08.dcv

9A_2014_01_21.dcv

9A_2015_01_09.dcv

9A_2016_01_21.dcv

9A_2016_01_27.dcv

9V_2013_01_15.dcv

9V_2013_02_08.dcv

9V_2014_01_21.dcv

9V_2015_01_09.dcv

9V_2016_01_20.dcv

9V_2016_02_07.dcv