Site name: Glacier Davies

Device codes: D1; JK; JL; JX

Coordinates: S63°53'30.0"; W58°1'37.4" (D1); S63°53'19.2"; W58°3'39.8" (JK; JL; JX)

Altitude: 268 m a. s. l. (D1); 539 m a. s. l. (JK; JL; JX)

Site description: The study site is situated on (top of) the Glacier Davies in the southwestern part of Ulu Peninsula, James Ross Island. The site provides atmospheric data and the terrain is descending to all sides from the study site.

Measured parameters:

Current setting:

D1 - Air temperature and Relative humidity (approx. 200 cm) - since 4 			February 2016 (renewed)

JK - 	all since 18 February 2007

Global and Reflected radiation (initial 163 cm, changeable)

Surface temperature (1 cm)

Air temperature and Relative humidity (170 cm)

Air pressure (approx. 50 cm - changeable)

Wind speed and Wind direction (approx. 2 m)

JL - Snow depth (120 cm) - since 28 January 2009

JX - Air temperature and Relative humidity (160 cm) - since 16 February 2009

Cancelled measurement:

D1 - Air temperature and Relative humidity (163 cm) - between 2 February 2013 and 9 December 2015

5V - Air temperature and Relative humidity (approx. 200 cm) - between 17 January 2006 and 18 February 2007

Measurement interval:

D1 – 60 min

JK – 30 min

JL – 180 min

JX – 60 min (30 min until 29 January 2014)

Total data availability: JX- not determined yet (likely close to 100 %); the rest of the measurements - not determined yet

Data quality: Not determined yet

Missing data period: Mostly not determined yet

November 2010 – 19 January 2011 (max. 80 days, JL)

2009 (might be the whole year missing due to technical issues, JK)

Published data period: