Site name: Lachman

Device codes: L1; L3; LM

Coordinates:

Altitude:  approx. 45 m a. s. l.

Site description: The study site is situated on a coastal beach on a peninsula in the northeastern part of Ulu Peninsula, James Ross Island. The site provides both atmospheric and ground data. Its surrounding is covered by regolith and there is open sea to the northeast to southwest, while it is could be slightly shadowed from the northwest.

Measured parameters:

Current setting:

L1 - Air temperature (200 cm) - since 18 January 2015

L3 - 	Soil temperature (2, 5, 10, 20, 30, 40, 50 cm) – since 1 February 2015

Heat flux (5, 40 cm) - since 1 February 2015

LM - 	Soil temperature (2, 5, 10, 20, 30, 40, 50 cm) – since 1 February 2015

Near surface temperature (2, 5, 10, 20, 40, 60 cm above surface) - since 1 February 2015

Cancelled measurement:

Measurement interval:

L1, L3, LM – 60 min

Total data availability: L1, L3, LM –  100 %

Data quality:

Air temperature data (L1) likely to be incorrect in 2015 due to damage by snow and wind to the instruments.

Missing data period:

Published data period:

Data files:

Complete time series – raw data:

# Comments

Chybí info!