Site name: Solorina Valley

Device codes: 6A; 6B; 6C

Coordinates: S63°53'8.98"; W57°46'36.94"

Altitude: 4 m a. s. l.

Site description: The study site is situated on a beach in the eastern part of Ulu Peninsula, James Ross Island. The site provides both atmospheric and ground data. Its surrounding is covered by regolith and it might be slightly shadowed from southwest to northwest

Measured parameters:

Current setting:

6A - Soil temperature (5, 15 cm) – since 29 January 2007

6B - Soil temperature (35, 50 cm) – since 29 January 2007

6V - Air temperature (200 cm) – since 29 January 2007

6V - Relative humidity (200 cm) – since 29 January 2007

Cancelled measurement:

Measurement interval:

6A – 60 min

6B – 60 min

6V – 60 min

Total data availability: Not determined yet

Data quality: 	6A – 9 (some missing values)

6B – 9 (some missing values)

6V – 1 (no missing values)

Missing data period: 	6A – missing values in (austral) winter 2012

6B – missing values in (austral) winter 2012

Published data period:

Data files:

Complete time series – raw data: